NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

Health and Safety and Premises Management Overview 2021-22

| Monitoring Date | Policy | Risk Assessments | Statutory Building Checks * | Premises monitoring | CPD | Other |
| --- | --- | --- | --- | --- | --- | --- |
| Autumn 2021 Wed. 17th November 3.15 – 5.15 pm | - Safeguarding Policy review - Emergency Plan and Business Continuity Plan review | Fire Risk Assessment annual review | Asbestos Register & Management Plan annual re-inspection 08/09/2021 Tetra Tech (Buy back from LA). | Wed, 13th October at 3.30 pm PA and FK | -1/9/2021 Inset Safeguarding. Whole school staff KCSIE 2021 -28/9/2021 Surrey Health and Safety – Strategic Risk Management Webinar completed by PA | Single Central Record check Re-roofing project Installation of 2 x Air Source Heat Pump (ASHP) Environmental Health Officer visit to school kitchen 11.10.2021 Fire Drill 19.10.2021 |
| Spring 2022 Thurs. 10th February 3.15 – 5.15pm | -Health, Safety and Welfare Policy review | General Risk Assessments annual review |  | TBC PA and FK |  | SLA review |
| Summer 2022 Thurs. 19th May 3.15 – 5.15pm |  |  |  | TBC PA and FK | 1/7/2021 Inset. First Aid in School for all staff |  |

NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

School Policies and Procedures 2021-22

| Policy | Status and Review Cycle | Approval Level | Date | Next Review Date |
| --- | --- | --- | --- | --- |
| Health, Safety and Welfare | Statutory Annual | Employer (IW on behalf of the Governing Body) | February 2021 | Spring 2022 |
| COVID-19 Health, Safety and Welfare | Recommended | Employer (IW on behalf of the Governing Body) | February 2021 | Spring 2022 |
| First Aid in Schools | Statutory Annual | FGB | June 2021 | Summer 2022 |
| Safeguarding | Statutory Annual | FGB | October 2021 | Autumn 2022 |
| Emergency Plan and Business Continuity Plan | Recommended | IW | October 2021 | Autumn 2022 |

NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

Statutory Surveys, Testing, Inspections and Risk Assessments 2021-22

| Aspect | Frequency | Contractor | Date(s) | Cost |
| --- | --- | --- | --- | --- |
| Surrey Services for Schools Buy-Back |  |  |  |  |
| Asbestos Register and Asbestos Management Plan Next re-inspection due September 2022 | Set out in the Asbestos Management Plan Annual Survey | Tetra Tech | Annual Re-inspection (2021-22) Re-inspection 08.09.2021 Recommendation “Manage and Periodic RE-inspection of ACM” | £277.00 £285.00 |
| Fixed Electrical Installation Testing and inspection of all fixed wiring and distribution boards. Report and recommendations Next inspection due December 2024 | Every 5 years | Quantec Consultants Limited 22.4.2021 FWP agreed to instruct Buchan & Curwen to complete C2 recommendations for the school and bungalow, plus other minor electrical works in school and the bungalow. Total cost £2,883 plus vat (Revenue budget) | 10th Dec. 2019 Next Test and Inspection due December 2024 | £1,338.00 |
| Water Hygiene and Safety (Legionnaires’ Disease) Risk Assessment Survey (The Control of Legionella Bacteria in Water Systems) Remedial works completed Next Inspection due August 2022 (2022-23) | Biennial review Remedial works | 3C Environmental Technology Ltd Remedial works – remove dead end pipework in Yr 2 Fit double check valve to outside taps (main kitchen and Yr 2) Remedial works – (ACS) re-pipe and re-install expansion vessel in the correct vertical position (not horizontal) | 10/08/2020 04/01/2021 22/3/2021 | £459.00 £132.50 £134.50 £346.56 |
| Aspect | Frequency | Contractor | Date(s) | Cost |
| - Outside Contractor arranged by school |  |  |  |  |
| Emergency Lighting Annual Discharge Test and Certification Next due August 2022 | Annual | RJ Fire | 17/08/2021 | £170.00 |
| Gas Safety – School (non-domestic) Service, Inspections, Level of Inhibitors, flushing of expansion vessels, and Certificates for School Boiler (Hamworthy Broadstone HE200) and Water Heater (Strebel SP400). 2 Services a year. Nest service due January/February 2022 (with bungalow annual service) | Biannual | Advanced Control Solutions Ltd | Major Service 21/07/2020 Minor Service 03/02/2021 Service BMS and associated controls 27/05/2021 Major Service, including flushing expansion vessels and inhibitor test 02/07/2021 | £198.95 £645.16 (Including Annual Service Bungalow Boiler) £319.71 £194.37 |
| Gas Safety – Bungalow (domestic). Annual servicing plus gas tightness test to include check on ventilation, adequate flues, safety devices working. Landlord/Home Owner Gas Safety Certificate. Worcester Greenstar 18Ri Next Service due January/February 2022 (with school’s minor service | Annual | Advanced Control Solutions Ltd | Leaking Boiler – replaced condense trap Annual Service 03/02/2021 | £193.00 Included in Minor Service for School Systems |
| - In house |  |  |  |  |
| Electrical PAT Testing and Recording | On-going | Fred Kolndreu. Training completed 7th March 2012, Babcock 4S - The Periodic Inspection and Testing of Portable Electrical equipment | Ongoing. See Records | N/A |
| Emergency Lighting Check functionality / record | Monthly | Fred Kolndreu | Ongoing. See Records | N/A |
| Water Hygiene and Safety (Legionnaires’ Disease) Temperature checks and recording | Flush infrequently used outlets - Year 2, Year 3, outside kitchen (Weekly) Record incoming mains water temperature (Monthly) Record flow, return and stored water temperature of water calorifer in boiler house (Monthly) Record sentinel hot and cold water temperatures from stored water systems Kitchen, Yrs R, 1, 2, 3, 4, 5, 6 classrooms, Aquarium, Girls toilet, Boys toilet, HE room, staff kitchen, staff toilets (Monthly) | Fred Kolndreu | Ongoing. See records | N/A |

Other Surveys, Testing and Inspections 2021-22

| Aspect | Frequency | Contractor | Date(s) | Cost |
| --- | --- | --- | --- | --- |
| Surrey Services for Schools Buy-Back |  |  |  |  |
| Fixed Playground & Gym Equipment Inspecting and Testing | Annual | Twelve15Gym Maintenance | Annual Service (2020/21) 16/02/2021 Annual Service (2021/22) Date of service TBA | £814.80 £839.05 |
| Water Hygiene and Safety Legionnaires’ Disease - Water Systems Thermostatic Mixer Valves Remedial works from annual survey | Annual | 3Cet Ltd Remedial works – relocate TMVs in Yr R, Yr 3 and upper school girls’ toilet | 04/01/2021 Annual Service (2020/21) 16/02/2021 Annual Service (2021/22) Date of service TBA | £250.00 £332.00 £398.00 |
| Cold Water Tank (Bungalow) Remedial works from annual survey | Annual | 3Cet Ltd Remedial works – clean and disinfect CWST | 04/01/2021 Annual service (2020/21) 16/2/2021 Annual Service (2021/22) Date of service TBA | £270.00 £85.00 £87.00 |
| - Outside Contractor arranged by school |  |  |  |  |
| Intruder Alarm | Bi-Annual | Admiral Security Systems | Maintenance & Monitoring Charge 19.6.2021 to 18.6.2022 Last service 25/6/2021 | £646.00 |
| Fire Detection and Alarm Systems. Inspection Remedial Works | Bi-Annual | RJ Fire | 16/10/2020 Supply & fit replacement smoke sounder in KS1 15/02/2021 (Inspection) 15/02/2021 Supply & fit replacement smoke sounder in Yr R 17/08/2021 (Inspection) Replacement EDA batteries ordered for Fred as a back up | £425.00 £225.00 £425.00 £225.00 |
| Fire Fighting Equipment. Inspection and Maintenance Remedial Works | Annual | RJ Fire | 15/2/2021. Replace water extinguisher (alcove outside hall), dry powder extinguisher (Boiler House), Fire Blanket (School Kitchen) 17/08/2021 (Inspection) Replace 2 x 6Lt Water, 1 x 2KG CO2, 3 x 6KG Powder, 10 x fire blankets Completed 26.10.2021 | £42.50 £42.50 £15.00 £130.00 £470.00 |
| School Kitchen. Kitchen Ventilation Service | Annual | PW Industrial Services Ltd | 12/04/2021 Service, clean and de-grease ventilation equipment | £350.00 |
| Tree Safety. Survey and recommended works | Annual | Connick Tree Care | Inspection 18/05/2021 Recommendations to monitor 9 individual and 3 groups of trees and re-inspect in 1 year | £290.00 |
| Fire Detection and Alarm Systems. Testing and Recording | Weekly | In-house. Fred Kolndreu | Ongoing. See Records | N/A |
| Fire Doors – Inspection | Weekly | In-house. Fred Kolndreu | Ongoing | N/A |
| First Aid Equipment. Checks that all within expiry date | Every 6 months | In-house. Serena Fowler (Appointed Person for First Aid) | 19th October 2021 | N/A |

NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

Statutory Checks 2021-22

| Aspect | Frequency | Contractor | Date(s) | Cost |
| --- | --- | --- | --- | --- |
| COSHH (Control of Substances Hazardous to Health) Check on storage, use of hazardous materials, and up to date COSHH sheets. | Annual (Autumn review) | In-house Fred Kolndreu, Premises Manager | Reviewed by PA and FK 13.10.2021 | N/A |

NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

Statutory Risk Assessments 2021-22

| Risk Assessment | Frequency | Contractor | Date | Cost | Date of Next Review |
| --- | --- | --- | --- | --- | --- |
| Asbestos (See above under statutory surveys) | Annual | Tetra Tech | 08/09/2021 Recommendation to “Manage & Periodic RE-inspection of ACM” | £285.00 | Sept. 2022 |
| Water Hygiene and Safety (See above under statutory surveys) | Every 2 years | 3C Environmental Technology Ltd | 10/08/2020 (2020-21) | £459.00 | 2022-23 |
| Fire Risk Assessment | Annual | In-house (PA approved by IW) | 21/10/2021 | N/A | October 2022 |

Other Risk Assessments 2021-22

| Hazard Risk Area | Comments | Conducted by | Person(s) consulted | Date | Next Review Date |
| --- | --- | --- | --- | --- | --- |
| Access control |  | IW and PA | JB , ML and VE (The Ark) | January 2021 | Spring 2022 |
| Administering medication |  | IW and PA | JB, EB and CC (EVC) | January 2021 | Spring 2022 |
| Contractors working on site |  | IW and PA | FK | January 2021 | Spring 2022 |
| DT |  | IW and PA |  | January 2021 | Spring 2022 |
| Electrical safety |  | IW and PA | FK | January 2021 | Spring 2022 |
| First Aid provision |  | IW and PA | JB and EB | January 2021 | Spring 2022 |
| Lone working |  | IW and PA | FK | January 2021 | Spring 2022 |
| Manual handling |  | IW and PA | FK | January 2021 | Spring 2022 |
| Physical Education |  | IW and PA |  | January 2021 | Spring 2022 |
| Playground safety |  | IW and PA |  | January 2021 | Spring 2022 |
| Pond safety |  | IW and PA | FK | January 2021 | Spring 2022 |
| Premises site safety |  | IW and PA | FK | January 2021 | Spring 2022 |
| Use of outdoor play equipment |  | IW and PA |  | January 2021 | Spring 2022 |
| Working at height |  | IW and PA | FK | January 2021 | Spring 2022 |
| Year 6 Residential High Ashurst/TYM 7th to 11th June 2021 | Approved by FGB 29.4.2021. Signed by SN Uploaded to Surrey CC (Evolve) and approved | CC and EC | IW | April 2021 |  |
| Year 6 Residential High Ashurst/TYM 13th to 17th September 2021 | Approved by FGB 7.7.2021. Signed by SN Uploaded to Surrey CC (Evolve) and approved. Revised risk assessment for additional medical needs, approved by SCC |  | IW | July 2021 |  |
| Radon - Surrey CC arranged for sensors to be put in school (10) and bungalow (2), removed after 3 months to be sent to Health Protection Agency for analysis. | No report received from SCC following analysis | Advanced Electrical Contractors South East Ltd |  | April 2014 | No report received from Surrey CC |

NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

Statutory Display of H&S Information 2021-22

| Information | Date of Publication | How Displayed | Latest Review Date that Information still current. | Next Review Date |
| --- | --- | --- | --- | --- |
| HSE – Health and Safety Law Leaflet | 04/2009 | - Given to all new employees in Induction pack - Permanently displayed on Staff Notice Board | September 2021 P Assender | March 2022 |
| Display Energy Certificate (DEC). Building over 1,000m2, DEC valid for one year and must be reviewed annually | 17/01/2021 | Prominent location - school reception area | PA 17th January 2021 | 16th January 2022 |

NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

Health and Safety and Premises Management Agenda

Health and Safety Monitoring Agenda

Date:

Staff present:

- Safeguarding

- Are policies suitable and updated – are they ready for approval by Governors (if needed) / been reviewed by SLT

- Risk Assessments – have all RA been reviewed

- Have stat  building checks for X been completed (see appendices)

- Premises monitoring (complete tick sheet and do tour of school)

- Has Fred/SLT if appropriate undertaken CPD training for the term? If not what date will this be completed?

- Other

- AOB

Archive

Health and Safety and {remises Management Overview 2020-21

| Monitoring Date | Policy | Risk Assessments | Statutory Building Checks * | Premises monitoring | CPD | Other |
| --- | --- | --- | --- | --- | --- | --- |
| Autumn 2020 Wednesday 4th November 9.30-11.00am | Safeguarding Health and Safety |  | COSHH (Control of Substances Hazardous to Health) Check on storage and use of hazardous materials. | 4/11/2020 PA and FK | iHasco online training completed by IW, PA and FK -Fire Awareness -Fire Awareness in Education -H&S Basics and Essentials -Children with Asthma -Safeguarding Children (Level 2) -Legionella Awareness | Review Decorating Schedule |
| Spring 2021 10th February 3.15 – 5.15pm | Emergency Plan and Business Continuity Plan |  |  | 28/01/2021 PA and FK | Safeguarding Level 2. Whole school staff on Inset Day 12/2/2021 | SLA review |
| Summer 2021 19th May 3.15 – 5.15pm | Risk assessments* |  |  |  | H&S Basics and Essentials | -Review Decorating Schedule -SCC Strategic Risk Management Team H&S Newsletter Spring 2021 |