NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

HEALTH AND SAFETY AND PREMISES MANAGEMENT OVERVIEW 2025-26

MONITORING VISIT On 11th February 2026

1. ACTIONS SINCE THE PREVIOUS MEETING HELD ON THURSDAY 16TH MAY 2024:

| SAFEGUARDING |  |
| --- | --- |
| 08/10/2025 | CFG raised a safeguarding concern around the condition of the perimeter fence. Upon inspection the fence has been badly damaged by both intruders and wildlife over its lifespan and also suffers from areas of dilapidation. The Fence to the North has gaps allowing access to Kentwyns Wood. To the East the fence supports are crumbling and the chain-link badly damaged in places. To the south, there is no boundary fence in place and the hedge which bounds the allotments has many gaps. There have been intruders to the site (at night) and children have left the grounds. JC meeting with Diocesan representatives on Thur 4th December |

| STATUTORY CHECKS / INSPECTIONS |  |  |
| --- | --- | --- |
| Fire |  | Unplanned fire drills. No Unplanned Fire Drills since 24/06/2025. Planned Fire Drill 9th December 2025 – Whole School |
|  | 24/07/2025 | RJ Fire – Completed service and inspection of fire alarm, inspection of firefighting equipment, and annual discharge test and inspection of emergency lighting. Batteries were required for many of the sensors. These are stored on site. None of the fire extinguishers required replacement. Firefighting equipment report Fire alarm system and emergency lighting report |
| Trees | 09/08/2025 | The SCC 3 yearly tree inspection was completed and there were numerous recommendations which required the felling of two trees which were deemed to be dangerous and the significant reduction in the canopies of 3 other trees. The Work was carried out in August. Tree Condition Assessment |
| Boiler and Associated Controls |  | Boiler Service not carried out due to new Gas installation works ongoing. |
|  |  | All Boiler controls and hot water related works and statutory checks are currently suspended due to ongoing boiler replacement. |
| Intruder Alarm | 23/07/2025 30/07/2025 | Admiral Security – Onsite to complete the bi-annual service of the intruder alarm system. Intruder alarm callout following planned School powerdown Alarm Maintenance Certificate Intruder Alarm Callout |
| Dining Tables | 27/07/2025 | The 10 x new folding dining tables need to be serviced each year. We have entered a three-year Preventive Maintenance Agreement with the manufacturer, SICO Europe Ltd. This was their first service. SICO Engineers Job Sheet |
| Asbestos | 01/07/2025 | A refurbishment survey was carried out ahead of electrical works to the main incoming electrical distribution panel. The panel contains Asbestos Carriers which upon decommission will need to be disposed of in accordance with the regulations. Awaiting |
|  | 26/09/2025 | Tetra Tech – Onsite to complete the Asbestos Re-Inspection of Risk Assessment. Asbestos re-inspection survey report |
| Legionella | 24/07/2024 | Legionella re-Inspection not due until 2026 however ongoing temperature checks are carried out weekly and recorded by the premises manager. |

| BUILDING PREMISES WORKS (EXTERNAL CONTRACTORS) |  |  |
| --- | --- | --- |
| Doors | 20/08/2025 | Orbital construction replaced 3x doorframes to the hall which were rotten and had fallen away giving rise to door dropping issues |
| Cleaning | 27/07/2025 | Solo Service Group (contract cleaners) deep clean during the Summer holidays. |
|  | 11/08/25- 12/08/25 | ASF – Onsite to deep clean all carpets, clean windows inside and out, clean roof lights, skylights and upper school outdoor covered area. This year, they also cleaned the green metal structure of the KS2 canopy and all outside UPVC frames and ledges. |
| Electrical | 29/05/2025 27/08/2025 | JTD Electrical - Installation of emergency light fitting and key switch in boiler room. (H&S) JTD Electrical – Installation of additional wall sockets following review of use of extension cables. (H&S) (Invoices) |

| UNPLANNED EVENTS |  |  |
| --- | --- | --- |
| Japanese knotweed | 24/06/2024 | Japanese Knotweed is present at the northern perimeter fence of the property. There is a large infestation around 70sqm in Kentwyns wood which is the likely cause of the infestation. JC tried to contact the landowner (Mr Broadbent) without success. JC has contacted the District council and investigations are ongoing |
| Fire Alarm | NA | No Unplanned Events One Planned Fire Drill carried out on 28/01/2026 |
| Intruder Alarm | NA | No unplanned Events |

| CPD |  |
| --- | --- |
| DATE | TRAINING |
| 02/10/2025 | Staff completed their schools first aid training run by Event medical Team Ltd |
| 15/10/2025 | Ark staff (Offer, Koncius, Harrison, Cordey & Wahab) completed their Basic Food Hygene training via online training Ltd |

| OTHER |  |  |
| --- | --- | --- |
| VA-SCA Plant Room Works / ASHP | At 02/12/2025 | ASHP installed but not operational due to electrical loading issue with UKPN. Boiler works and controls not yet signed off. Dispute between SJP Mechanical and Carrier yet to be resolved. |
|  |  | ASHP switched off and drained down during cold snap to prevent expansion damage to installation |
| Policy & Compliance |  |  |
| Various | 01/10/2025 | Display Energy Certificate now issued (Finally) |
|  | 15/12/2025 | Annual Commercial Catering Inspection carried out without further remedials |

| Upcoming Works |  |
| --- | --- |
| Lighting | Quotes received – planning permission required. Some challenges exist trying to identify the legal owner of the premises. (See quote) |
| Flooring | Quote received to replace the lino and the carpet in KS2 all classrooms. Intention to complete the works either at Easter or the Summer break(See quote) |
| 15/10/2025 | Upcoming Works up to date (See Premises & H&S tracker) |