| # ANNUAL FIRE EXTINGUISHER REPORT / CERTIFICATE |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RJ Fire Fire & Security Specialists 32 Cinnabar Drive Sittingbourne Kent ME10 5LA |  |  |  |  |  |  | CLIENT NUTFIELD C/E SCHOOL 59 MID STREET SOUTH NUTFIELD RH1 4JJ |  |
| CERTIFICATE N0: EX7383 |  |  |  |  |  |  |  |  |
| WORKS REF N0: |  |  |  |  |  |  |  |  |
| INSPECTION DATE: | SERVICE iNSPECTIONS AT: |  |  |  | sERVICE inspections: |  |  | Next Service: |
| 24/07/2025 | NUTFIELD C/E SCHOOL 59 MID STREET RH1 4JJ |  |  |  | ANNUAL |  |  | JULY 2026 |
| DISCIPLINES: | ANNUAL service & maintenance carried out TO: BS 5306 PART 3 & REFILLED WHEN REQUIRED TO BS 6643 PART 1 |  |  |  |  |  |  |  |
| FIRE FIGHTING EQUIPMENT: |  |  |  |  | PASS |  |  | TEST DUE/FAIL |
| 6LT WATER | 4 |  |  |  | 4 |  |  |  |
| 9LT WATER |  |  |  |  |  |  |  |  |
| 2LT FOAM |  |  |  |  |  |  |  |  |
| 6LT FOAM | 4 |  |  |  | 3 |  |  | 1 |
| 9LT FOAM |  |  |  |  |  |  |  |  |
| 2KG CO2 | 7 |  |  |  | 3 |  |  | 4 |
| 5KG CO2 |  |  |  |  |  |  |  |  |
| 1KG POWDER |  |  |  |  |  |  |  |  |
| 4KG POWDER | 2 |  |  |  | 2 |  |  |  |
| 6KG POWDER |  |  |  |  |  |  |  |  |
| 6LT WET CHEM |  |  |  |  |  |  |  |  |
| FIRE BLANKETS | 13 |  |  |  | 11 |  |  | 2 |
| CO2 HORN |  |  |  |  |  |  |  |  |
| NEW UNITS REQUIRED | 7 |  |  |  |  |  |  |  |
| NITROGEN CHARGE |  |  |  |  |  |  |  |  |
| TOTAL UNITS SERVICED | 30 |  |  |  |  |  |  |  |
| SERVICE ENGINEER: |  |  |  |  |  |  |  | R.Jones |
| X 4 2KG CO2 REQUIRED X 1 6LT AFFF FOAM REQUIRED X 2 FIRE BLANKETS REQUIRED |  |  |  |  |  |  |  |  |