NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

HEALTH AND SAFETY AND PREMISES MANAGEMENT OVERVIEW 2025-26

MONITORING VISIT On 9th June 2026

| SAFEGUARDING |  |
| --- | --- |
| 08/10/2025 | The primary safeguarding challenge with respect of premises and H&S remains the condition of the perimeter fence which it was agreed is in a very poor state of repair on 2 sides of the playing field and is in desperate need of replacement. The boundary to the south has no fence in place and the previously impenetrable hedging is now gappy and poses a risk. At the February meeting CFG & SN agreed to write to SDBE to ask for the funding to install the fencing. |

| STATUTORY CHECKS / INSPECTIONS |  |  |
| --- | --- | --- |
| Fire |  | Unplanned fire drills. No Unplanned Fire Drills since 24/06/2025. Planned Fire Drill 23rd June 2026 – Whole School |
|  | 24/07/2025 | RJ Fire –Service and inspection of fire alarm, inspection of firefighting equipment, and annual discharge test and inspection of emergency lighting is booked for the 23rd July 2026 None of the fire extinguishers required replacement last time.. Firefighting equipment report Fire alarm system and emergency lighting report |
| Trees | 09/08/2025 | The SCC 3 yearly tree inspection was completed and there were numerous recommendations which required the felling of two trees which were deemed to be dangerous and the significant reduction in the canopies of 3 other trees. The Work was carried out in August. Further Tree work was carried out to the apple tree by Mr Hamilton who cut the tree back to improve the contition. |
| Boiler and Associated Controls |  | Boiler Service not carried out due to new Gas installation works ongoing. |
|  |  | All Boiler controls and hot water related works and statutory checks are currently suspended due to ongoing boiler replacement. Awaiting for the recommission of the ASHP. |
| Intruder Alarm | 23/07/2025 30/07/2025 | Admiral Security – Onsite to complete the bi-annual service of the intruder alarm system on the 23rd July 2026 No Intruder alarm callouts since the last meeting Alarm Maintenance Certificate |
| Dining Tables | 27/07/2025 | The 10 x new folding dining tables need to be serviced each year. We have entered a three-year Preventive Maintenance Agreement with the manufacturer, SICO Europe Ltd. This service is booked for 18th August. SICO Engineers Job Sheet |
| Asbestos | 18/10/2025 | A refurbishment survey was carried out ahead of electrical works to the main incoming electrical distribution panel. The panel contains Asbestos Carriers which upon decommission will need to be disposed of in accordance with the regulations. Next Asbestos Assessment is due in October 2026 |
|  | 26/09/2025 | Tetra Tech – Onsite to complete the Asbestos Re-Inspection of Risk Assessment. Asbestos re-inspection survey report |
| Legionella | 24/07/2024 | Biannual Legionella re-Inspection is now due in the Summer. Rock Compliance no longer providing this service to SCC. Have reached out to Reigate Environmental Services to obtain a quote. |

| BUILDING PREMISES WORKS (EXTERNAL CONTRACTORS) |  |  |
| --- | --- | --- |
| Doors & Windows | 20/08/2025 | Orbital have been called in to make an assessment of the existing door and window mechanisms. Many are failing and are difficult to secure. Awaiting quotation |
| Cleaning | 31/07/2025 | Solo Service Group (contract cleaners) deep clean during the Summer holidays. Booked in for 3rd August |
|  | 11/08/25- 12/08/25 | ASF – Onsite to deep clean all carpets, clean windows inside and out, clean roof lights, skylights and upper school outdoor covered area. This year, they also cleaned the green metal structure of the KS2 canopy and all outside UPVC frames and ledges. KS2 is excluded this year as the new carpets are going in |
| Electrical | 29/05/2025 27/08/2025 | JTD Electrical - Installation of flood light in the carpark. JTD Electrical – Installation of additional wall sockets in the hall and the foyer to remove the reliance on extension cables. Awaiting Quotation |
| Plumbing |  | True Heating Solutions made extensive repairs to a leaking section of pipework in Yr2 classroom Works have been approved for the replacement of the bathroom in the Caretaker’s Bunmgalow |

| UNPLANNED EVENTS |  |  |
| --- | --- | --- |
| Japanese knotweed | 24/06/2024 | Japanese Knotweed is present at the northern perimeter fence of the property. There is a large infestation around 70sqm in Kentwyns wood which is the likely cause of the infestation. Further attempted communication with the landowner has fallen on deaf ears. Requesting guidance on next steps. |
| Fire Alarm | NA | No Unplanned Events |
| Intruder Alarm | NA | No unplanned Events |

| CPD |  |
| --- | --- |
| DATE | TRAINING |
| 02/10/2025 | Staff completed their schools first aid training run by Event medical Team Ltd |
| 01/06/2026 | Prevent Refresher Training and Cyber Security training is being rolled out again through June and early July |

| OTHER |  |  |
| --- | --- | --- |
| VA-SCA Plant Room Works / ASHP | At 02/12/2025 | ASHP installed but continue to be non-operational due to electrical loading issue with UKPN. Boiler works and controls not yet signed off. Dispute between SJP Mechanical and Carrier yet to be resolved. |
|  |  | ASHP switched off and drained down during cold snap to prevent expansion damage to installation |
|  | Ongoing | Letting took place in February half term and Easter and a further four days of lettings are due to take place commencing 27th July. |
| Policy & Compliance |  |  |
| Various | 01/10/2025 | Display Energy Certificate now issued (Finally) |
|  | 15/12/2025 | Annual Commercial Catering Ventilation Inspection carried out without further remedials |
|  | 04/03/2026 | PAT testing Equipment was recalibrated in line with guidance. |
|  | 27/05/2026 | Catering ventilation testing and cleaning took place at the end of May. Awaiting certificate from PW Industrial |

| Upcoming Works |  |
| --- | --- |
| Flooring | Replacement of the lino and the carpet in KS2 all classrooms will begin during August and is expected to take all week. There is a risk that if the carpet tiles damage the subfloor that there may be an additional cost of remedial repairs |