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NUTFIELD CHURCH (C OF E) PRIMARY SCHOOL

HEALTH AND SAFETY AND PREMISES MANAGEMENT OVERVIEW 2025-26
MONITORING VISIT On 9th June 2026


	SAFEGUARDING

	08/10/2025
	The primary safeguarding challenge with respect of premises and H&S remains the condition of the perimeter fence which it was agreed is in a very poor state of repair on 2 sides of the playing field and is in desperate need of replacement.  The boundary to the south has no fence in place and the previously impenetrable hedging is now gappy and poses a risk.  At the February meeting CFG & SN agreed to write to SDBE to ask for the funding to install the fencing. 



	STATUTORY CHECKS / INSPECTIONS

	Fire
	
	Unplanned fire drills.
No Unplanned Fire Drills since 24/06/2025. 

Planned Fire Drill 
23rd June 2026 – Whole School

	
	24/07/2025
	RJ Fire –Service and inspection of fire alarm, inspection of firefighting equipment, and annual discharge test and inspection of emergency lighting is booked for the 23rd July 2026  
None of the fire extinguishers required replacement last time..   
Firefighting equipment report
Fire alarm system and emergency lighting report

	Trees
	09/08/2025
	The SCC 3 yearly tree inspection was completed and there were numerous recommendations which required the felling of two trees which were deemed to be dangerous and the significant reduction in the canopies of 3 other trees.  The Work was carried out in August.
Further Tree work was carried out to the apple tree by Mr Hamilton who cut the tree back to improve the contition. 

	Boiler and Associated Controls
	
	Boiler Service not carried out due to new Gas installation works ongoing.  

	
	
	All Boiler controls and hot water related works and statutory checks are currently suspended due to ongoing boiler replacement. Awaiting for the recommission of the ASHP. 

	Intruder Alarm
	23/07/2025


30/07/2025
	Admiral Security – Onsite to complete the bi-annual service of the intruder alarm system on the 23rd July 2026

No Intruder alarm callouts since the last meeting

Alarm Maintenance Certificate


	Dining Tables
	27/07/2025
	The 10 x new folding dining tables need to be serviced each year. We have entered a three-year Preventive Maintenance Agreement with the manufacturer, SICO Europe Ltd. This service is booked for 18th August.
SICO Engineers Job Sheet

	Asbestos
	18/10/2025
	A refurbishment survey was carried out ahead of electrical works to the main incoming electrical distribution panel.  The panel contains Asbestos Carriers which upon decommission will need to be disposed of in accordance with the regulations.  Next Asbestos Assessment  is due in October 2026

	
	26/09/2025
	Tetra Tech – Onsite to complete the Asbestos Re-Inspection of Risk Assessment. 
Asbestos re-inspection survey report

	Legionella
	24/07/2024
	Biannual Legionella re-Inspection is now due in the Summer.  Rock Compliance no longer providing this service to SCC.  Have reached out to Reigate Environmental Services to obtain a quote. 



	BUILDING PREMISES WORKS (EXTERNAL CONTRACTORS)

	
	
	

	Doors & Windows
	20/08/2025
	Orbital have been called in to make an assessment of the existing door and window mechanisms.  Many are failing and are difficult to secure.  Awaiting quotation

	
	
	

	Cleaning
	31/07/2025
	Solo Service Group (contract cleaners) deep clean during the Summer holidays.
Booked in for 3rd August 

	
	11/08/25-
12/08/25
	ASF – Onsite to deep clean all carpets, clean windows inside and out, clean roof lights, skylights and upper school outdoor covered area. This year, they also cleaned the green metal structure of the KS2 canopy and all outside UPVC frames and ledges.  KS2 is excluded this year as the new carpets are going in 

	
	
	

	Electrical
	29/05/2025


27/08/2025
	JTD Electrical  - Installation of flood light in the carpark.  

JTD Electrical – Installation of additional wall sockets in the hall and the foyer to remove the reliance on extension cables.   Awaiting Quotation


	Plumbing
	
	True Heating Solutions made extensive repairs to a leaking section of pipework in Yr2 classroom
Works have been approved for the replacement of the bathroom in the Caretaker’s Bunmgalow



	UNPLANNED EVENTS

	Japanese knotweed
	24/06/2024
	Japanese Knotweed is present at the northern perimeter fence of the property.  There is a large infestation around 70sqm in Kentwyns wood which is the likely cause of the infestation.  Further attempted communication with the landowner has fallen on deaf ears.  Requesting guidance on next steps. 

	Fire Alarm
	NA
	No Unplanned Events


	Intruder Alarm
	NA
	No unplanned Events

	
	
	



	CPD

	DATE
	TRAINING

	02/10/2025
	Staff completed their schools first aid training run by Event medical Team Ltd

	01/06/2026
	Prevent Refresher Training and Cyber Security training  is being rolled out again through June and early July



	OTHER

	VA-SCA Plant Room Works / ASHP
	At 02/12/2025
	ASHP installed but continue to be non-operational due to electrical loading issue with UKPN.  
Boiler works and controls not yet signed off.  Dispute between SJP Mechanical and Carrier yet to be resolved. 

	
	
	ASHP switched off and drained down during cold snap to prevent expansion damage to installation

	
	Ongoing
	Letting took place in February half term and Easter and a further four days  of lettings are due to take place commencing 27th July.  

	Policy & Compliance

	Various
	01/10/2025
	Display Energy Certificate now issued (Finally)

	
	15/12/2025
	Annual Commercial Catering Ventilation  Inspection carried out without further remedials 

	
	04/03/2026
	PAT testing Equipment was recalibrated in line with guidance. 

	
	27/05/2026
	Catering ventilation testing and cleaning took place at the end of May.  Awaiting certificate from PW Industrial 



	Upcoming Works

	Flooring 
	Replacement of the lino and the carpet in KS2 all classrooms will begin during August and is expected to take all week.  There is a risk that if the carpet tiles damage the subfloor that there may be an additional cost of remedial repairs
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