ANNUAL FIRE EXTINGUISHER REPORT / CERTIFICATE

RJ Fire
Fire & Security Specialists
32 Cinnabar Drive
Sittingbourne
Kent ME10 5LA




CLIENT
NUTFIELD C/E SCHOOL
59 MID STREET 
SOUTH NUTFIELD
RH1 4JJ
CERTIFICATE N0: EX7383
WORKS REF N0:

INSPECTION DATE:
SERVICE iNSPECTIONS AT:
sERVICE inspections:
Next Service:
24/07/2025
NUTFIELD C/E SCHOOL 59 MID STREET RH1 4JJ
ANNUAL 
JULY 2026

DISCIPLINES:
ANNUAL service & maintenance carried out TO: BS 5306 PART 3 & REFILLED WHEN REQUIRED TO BS 6643 PART 1


FIRE FIGHTING EQUIPMENT:

PASS
TEST DUE/FAIL
6LT WATER
4
4

9LT WATER



2LT FOAM



6LT FOAM
4
3
1
9LT FOAM



2KG CO2
7
3
4
5KG CO2



1KG POWDER



4KG POWDER
2
2

6KG POWDER



6LT WET CHEM



FIRE BLANKETS
13
11
2
CO2 HORN 



NEW UNITS REQUIRED
7


NITROGEN CHARGE




                                                 


TOTAL UNITS SERVICED
30


SERVICE ENGINEER:

R.Jones




X 4 2KG CO2 REQUIRED 
X 1 6LT AFFF FOAM REQUIRED  
X 2 FIRE BLANKETS REQUIRED















