Service inspection certificate: 
fire alarm & emergency lighting

RJ Fire
Fire & Security Specialists
32 Cinnabar Drive
Sittingbourne
Kent ME10 5LA




CLIENT
FINANCE OFFICE
NUTFIELD C/E SCHOOL
59 MID STREET
SOUTH NUTFIELD
RH1 4JJ
CERTIFICATE N0:3888
WORKS REF N0:

INSPECTION DATE:
SERVICE iNSPECTIONS AT:
sERVICE inspections:
Next Service:
15/01/2026
NUTFIELD SCHOOL SOUTH NUTFIELD RH1 4JJ
BI ANNUAL
JULY 2026 

DISCIPLINES:
service & maintenance carried out:


FIRE  ALARM: e/LIGHTING

PASS
FAIL
SYSTEM TESTS

YES

CONTROL PANEL
Operational (EDA ZERIO PLUS RADIO SYSTEM)
YES

SMOKE DETECTORS
Operational (EDA OPTICAL DETECTORS)
YES

HEAT DETECTORS
Operational (EDA RATE OF RISE DETECTORS)
YES

CALL POINTS
Operational (EDA)
YES

BELLS/SOUNDERS
Operational (ZERIO COMBINED BASE SOUNDERS)
YES

EMERGENCY LIGHTING
3 HOUR DISCHARGE TEST DUE JULY 2026


BEACONS
Operational
YES

RELAYS
N/A


INTERLINKS
N/A


BEAMS
N/A


DIALLER
N/A


REMEDIAL WORKS



ZONE CHART

YES

BATTERIES
Operational 
YES

LOG BOOK SIGNED 
                                                                               


SERVICE COMPLETE

YES

SERVICE ENGINEER:

R.Jones

.



















